## Slide 1: SEMINAR ON NOISE CONTROL OF BUILDINGS
Submitted To: Submitted By:
www.studymafia.org www.studymafia.org
www.studymafia.org

## Slide 2: CONTENTS
Introduction
Noise and Health
Ways to Control
Methods to control
Room Acoustic
Wall Construction
Floor construction
Space Planning
HVAC and Elevator soundproofing
Residential Sound Control Practices
Conclusion
References

## Slide 3: INTRODUCTION
Century of development and immense noise.
24/7 surrounded by noise and sound.
Principle: conversion of disturbances into electrical potentials which brain can sense.
Noise from outdoor as well as within the house.
NOISE : UNWANTED SOUND
Noise can impede speech communication.
Solution can be noise control.

## Slide 4: NOISE AND HEALTH
Regular exposure to noise may include various physical and psychological heath consequences including:
Hearing Impairment
Tinnitus
Hypertension
Ischemic heart disease
Annoyance
Sleep disturbances
Harm to Immune System
Birth defects
Icreased incidence of diabetes

## Slide 5: BASICS
Principle of hearing: conversion of physical disturbances in to electrical potentials which brain can sense
Listerner’s ear recieve sound directly and indirectly( i.e reflection from several surfaces).

## Slide 6: PARAMETERS
Building materials are generally rated by their noise reduction coefficient (NRC).
Sound Transmission Class (or STC) is an integer rating of how well a building partition attenuates airborne sound.

## Slide 7: WAYS TO CONTROL
Three BASIC ways to control noise
  Replace the sound source with a quieter one.
  Block the sound with a solid, heavy material that resists the transmission of sound waves.
  Absorb the sound with a light, porous material that soaks up sound waves.
Acoustical design issues for buildings include site noise considerations, control of noise transfer, establishing noise standards, room acoustics considerations, sound isolation, vibration control and audio/visual considerations

## Slide 8: METHODS
SOUND ABSORPTION
It is the capability of surface to absorb sound instead of reflecting it.
Good sound absorbing materials are carpet, foam, padding and fiberglass insulation.
Method : Room acoustics
SOUND INSULATION
Through sound barrier transmission , sound is reduced.
By increasing wall thickness and isolating one side of construction from other.
Methods: Wall construction,Floor planning,Space Planning.

## Slide 9: ROOM ACOUSTICS
ROOM ACOUSTICS
□ We receive direct and reflected sound in a room.
Unwanted background noise is due to high level of reflected sound in poor acoustical rooms.
To achieve acceptable acoustic characteristics various points are taken into considerations like:
  location and extent of sound absorbing materials
  reduction of reverberation and speech interference
  Shape of room(for libraries)

## Slide 10: Best sound absorption materials

## Slide 11: SOUND ABSORPTION AT WORKPLACE
Lay in acoustical ceiling
Suspended acoustical baffle

## Slide 12: CONT.
Open cell acoustical foam
Quilted sound screen

## Slide 13: WALL CONSTRUCTION
Standard partition is a single stud wall and one layer of gypsum bard on each side,the acoustic performance can be improved by using light gauge metals instead of wood studs.
STC (Sound transmission class) is standard parameter to compare performance of differenent construction materials
J
STC

## Slide 14: SPACE PLANNING
Space planning deals with organizing spaces to avoid adverse adjacencies of noisy equipment like mechanical equipments and electrical transformer with quiet spaces .
It can be the most cost-effective noise control technique.
FLOATING FLOOR
CONSTRUCTION

## Slide 15: FLOOR CONSTRUCTION
Floor and ceiling provide two acoustical function:
provide separation between adjacent spaces i.e, airborne sound insulation
reduce sound of footfalls and other impact sounds i.e, impact insulation.
Using a carpet and a pad or a resilient floor underlayment improves impact insulation.
WOOD FRAMED FLOOR

## Slide 16: HVAC NOISE CONTROL
PROBLEMS SOLUTIONS
not acoustically treated, noise from heating, ventilating, and
air-conditioning equipment can travel from room to room in the home or in the office.
Noise produced by fansand motors of central air equipment can be transmitted
throughout the duct system. High air velocities in the duct system can cause noise-producing turbulence.
Fiberglass duct liner, designed for installation inside sheet metal ductwork to attenuate air rush and central equipment noise as well as to control heat loss or gain through duct walls.
Fiberglass duct board, combining acoustical/thermalinsulation with a reinforced foil-kraft air barrier/vapor retarder, from which complete air duct systems may be fabricated.

## Slide 17: Protecting Yourself from Elevator Noise
Reason
Soundproofing
the sound coming from cable system attached to the elevator itself.
sound coming from the elevator shaft – sound caused by the motor and cables.
by simply applying a layer of mass loaded vinyl to the walls.
A separate wall around the perimeter of elevator.
Increasing air space in a wall assembly will also improve isolation

## Slide 18: Residential sound control PRACTICES
FIVE NOISE CONTROL MISTAKES TO AVOID
Thinking you don’t have a noise problem.
Not considering noise control before a project is started.
Not conducting a detailed study of noisy equipment.
Not using a systematic approach to noise control.
Not sealing air leaks.

## Slide 19: CONCLUSION
Noise is becoming a very big problem day to day it is degrading our health and ecological balance as well. And one cannot remain untouched with this aspect of day to day issue.
By introducing noise control in buildings we can create a less noisy residential and other constructions. As sound travels directly and throughs reflections, so to improve sound quality reflections should be minimized.

## Slide 20: REFERENCES
Google.com
Studymafia.org
Wikipedia.org