## Slide 1
www.studymafia.org
Submitted To: Submitted By:
www.studymafia.org www.studymafia.org
Seminar
On
Energy Audit
Notes: 1
1

## Slide 2: Content
What is an Energy Audit ?
Objectives of Energy Audit
The Role of an Energy Audit
Energy audit stages
Inputs and Outputs of Energy audit
Conclusion
References

## Slide 3: What is an Energy Audit ?
Energy audit is the first step toward systematic efforts for conservation of energy. It involves collection and analysis of energy related data on regular basis and in a methodological manner.

## Slide 4: Objectives of Energy Audit
The Energy Audit provides the vital information base for overall energy conservation program covering essentially energy utilization analysis and evaluation of energy conservation measures.
It aims at :-
Identifying the quality and cost of various energy inputs.
Assessing present pattern of energy consumption in different cost centers of operations.
Relating energy inputs and production output.
Identifying potential areas of thermal and electrical energy economy.
Highlighting wastage’s in major areas.
Fixing of energy saving potential targets for individual cost centers.
Implementation of measures for energy conservation & realization of savings.

## Slide 5: The Role of an Energy Audit
An energy audit identifies which areas in your establishment unnecessarily consume too much energy, where energy is being consumed and assesses energy saving opportunities, which is the most cost-effective to improve, so you get to save money where it counts the most.
In the factory, doing an energy audit increases awareness of energy issues among plant personnel. An energy audit in effect gauges the energy efficiency of your plant against “best practices”. When used as a “baseline” for tracking yearly progress against targets, an energy audit becomes the best first step towards saving money in the production plant.

## Slide 6
Stages of Energy Audit

## Slide 7: Energy audit stages
Energy audit can be categorized into two types, namely walk-through or preliminary and detail audit.
Walk-through or preliminary audit
Walk-through or preliminary audit comprises one day or few days visit to a plant and the output is a simple report based on observation and historical data provided during the visit. The findings will be a general comment based on rule-of-thumbs, energy best practices or the manufacturer's data.

## Slide 8: Preliminary energy audit
• Establish energy consumption in the organization
• Estimate the scope for saving
• Identify the most likely (and the easiest areas for attention
• Identify immediate (especially no-/low-cost) improvements/ savings
• Set a 'reference point‘
• Identify areas for more detailed study/measurement
• Preliminary energy audit uses existing, or easily obtained data.

## Slide 9: Detailed Energy Audit
The detailed audit goes beyond quantitative estimates of costs and savings. It includes engineering recommendations and well-defined project, giving due priorities. Approximately 95% of all energy is accounted for during the detailed audit. The detailed energy audit is conducted after the preliminary energy audit. Sophisticated instrumentation including flow meter, flue gas analyzer, scanners and other advanced instruments are used to compute energy efficiency.

## Slide 10
Inputs and Outputs of Energy audit

## Slide 11: Contents of an Audit
An energy audit assesses the effectiveness of management structure for controlling energy use and implementing changes. The energy audit report establishes the needs for plant metering and monitoring, enabling the plant manager to institutionalize the practice and hence, save money for the years to come. The energy audit action plan lists the steps and sets the preliminary budget for the energy management program.

## Slide 12: Steps for Energy Management and Energy audit….
Analysis of energy use
Identification of energy projects
Cost benefit analysis
Action plan to set implementation priority

## Slide 13: 1. Analysis of energy use
Identifying where energy is used is useful because it identifies which areas the audit should focus on and raises awareness of energy use and cost.
Analysis of energy use in the review of management structures and procedures for controlling energy use. This is a good source data for allocating energy use. The plant manager can also list all equipment used and the corresponding operating hours. With this information, one can create spreadsheet information and generate charts useful for analysis.

## Slide 14: 1. Analysis of energy use
Important points to be considered when collecting Site Load Data:
Operating hours - This can be gathered from plant personnel. It is important to ensure the accuracy of this data because much of the potential for energy savings lies on correct estimation of the equipment’s operating hours.
Duty cycle - Machines such as large electric motors have varying loads and hence, different power requirements.
Actual power consumed - For electric power users, this is based on either 3-phase current/voltage readings or power analyzer measurements (e.g., direct kW which incorporates power factor). For fuel users, tank readings of monthly consumption estimates and flow meters with totalization can be sources of measurement of air, water, steam, oil etc..

## Slide 15: 2. Identification of energy projects
Opportunities for energy savings can range from the simplest, such as lighting retrofits, to the most complex such as the installation of a cogeneration plant. The important thing to remember is to focus on major energy users and areas. Always apply the 80/20 rule, focus on opportunities that provide 80% of the saving but require 20% input. After the preliminary identification of opportunities, spend more time on those which have shorter payback periods.

## Slide 16: 3. Cost benefit analysis
The identified energy conservation opportunities should be analyzed in terms of the costs of implementing the project versus the benefits that can be gained. If you want to, say, install a heat plate exchanger to recover waste heat, you need to calculate the total cost of installation and compare that with the savings you will derive from recovering waste heat. It makes sense to go on with the project if there is a net positive benefit from the project.

## Slide 17: 4. Action plan to set implementation priority
After passing the cost benefit test, an action plan should be developed to ensure that the opportunities identified are implemented. The action plan should include all the major steps for implementing the opportunity as well as the people responsible.

## Slide 18: Conclusions
Presently, the average annual energy consumption is 24 lakh units.
The possible saving by implementing the proposed measures are 5.98 lakh units of electricity & 5,040 kg of LPG used in canteen which comes to about 25 % reduction of annual energy bill, at a capital investment of Rs. 163.15 Lakhs.

## Slide 19: References
www.google.com
www.wikipedia.com
www.studymafia.org
www.pptplanet.com

## Slide 20: Thanks